## 시트1
OAS-DSP 개발 기능 명세서
작성자 : HW파트 조락현 연구원
작성시기 : 2021년 2월 22일
No. | 구분 | 주요 기능 | 대분류 | 중분류 | 소분류 | 위치 | 설명 | 비고
1 | Main Board | Connectivity | USART | RS-232C | Debug | term_print.c / debug_feature.c |  | modify
2 |  |  |  |  | LCD | term_print.c / nextion_lcd_hmi.c |  | modify
3 |  |  |  |  | 공급설비 | term_print.c / hf960m_comm.c |  | modify
4 |  |  |  |  | PID Module | term_print.c / pid_ctrl.c |  | new
5 |  |  |  | RS-485 | MFC
6 |  |  | SPI | External ADC | Sens | ad7682.c |  | modify
7 |  |  | I2C | EEPROM | Back-up | eeprom.c
8 |  |  |  | External ADC | PT-100
9 |  | Analog | Input | ADC | PT-100 | debug_feature.c / adc.c |  | new
10 |  |  |  |  | MFC(유량 Data) |  |  | new
11 |  |  | Output | DAC | 공급설비 | debug_feature.c / dac.c |  | new
12 |  |  |  |  | MFC 제어 |  |  | new
13 |  | GPIO | Input |  | Leakage Sensor | debug_feature.c / sensor.c |  | modify
14 |  |  | Output |  | System LED | timer.c / led.c |  | modify
15 |  |  | Parallel I/O |  | Parallel Communication | parallel_io.c |  | new
16 |  | ETC | SDIO | Log | Raw Data | file_sys.c |  | modify
17 |  |  |  |  | Output Data
18 |  |  |  |  | Error Data
19 |  |  | RTC |  | Time setting |  |  | modify
20 | LCD | Main | Date & Time |  |  |  | Data&Time setting | modify
21 |  | Measure | Parameter Setting |  |  |  | "1 Point Calibration" Value setting | new
22 |  |  | Start |  | Warm-up |  | LED Warm-up : 60min count (Start Measure but not send data) | new
23 |  |  |  |  | Warm ok |  | Complete warm-up (Send data) | new
24 |  |  | System status |  |  |  | Auto validation | new
25 |  |  | Stop |  |  |  | Stop Measure | new
26 |  | Configuration | Password |  |  |  | "3210"
27 |  |  | Control Relay
28 |  |  | Interface Baudrate
29 |  |  | RS485 Addr
30 |  |  | Alarm range
31 |  |  | Factory Reset
32 |  |  | Change Password
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50