## LCD Menu
LCD Menu Tree for conductivity (v0.0.1, 2021.1.15)
0. Main Menu | 1. Measure(Stop) | 1-2. Parameter setting | 1-3. Measure(Warming) |  | 1-4. System Status(Calibration)
| 2. Configuration (Password) | 2-1. Configuration Menu | 2-2. Control Relay | 2-3. Interface Baudrate | 2-3. RS485 Salve Address | 2-4. Alarm Range | 2-5. Concentration Compensation | 2-6. Temperature Compensation