## Slide 1
24Vdc
Nu-2000 Main Board
RTD
x 2
DC/DC
5V
DC/DC
12V
DC/DC
3.3V
UV LED
Driver
Micro
SD Card
Parallel
Input (5)
Parallel
Output (18)
Leak sensor
Input (8)
12V
3.3V
SEL[1:0], EN
LED+/-
UV PD
x 2
UV1/2_LVL
EEPROM
(128KB)
4-20mA
Output
PLC
4-20mA
Output
RS-232 #1
RS-232 #2
RS-232 #3
RS-232 #4
RS-485
PID controller
Reserved
LCD
PC
IR LED
Driver
12V
3.3V
SEL[1:0], EN
LED+/-
IR PD
x 2
IR1/2_LVL
RTD
x 2
ADC 2ch.
(MCP3427)
+
-
I2C#2
ADC#1
ADC#2
ADC#3
ADC 4ch.
(AD7682)
SPI#2
DAC#1
DAC#2
MFC
(Mass Flow Controller)
DAC
LTC2630
4-20mA
Output
DAC
LTC2630
STM32F407IG
4-20mA
Input
Reserved
SDIO
DAC
LTC2630
DAC
LTC2630
UART#1
UART#2
UART#3
UART#4
UART#5
GPIO
Flow 속도
UV 농도 data
IR 농도 data
농도 data
Main board data 전송
Modbus ASCII
MCU ADC
Test purpose
GPIO

## Slide 2
Nu-2000 System Block Diagram
AC/DC
220 Vac
24 Vdc
Nu-2000 Main Board
4-20mA
In/Out
Flow 속도
12 V/3.3V
UV/IR LED on/off
UV/IR PD Read
Leak sensor
GPIO
공정설비
PLC
Analog Input
Digital In/Out
4-20mA
Out x 2
RS-232
Parallel In/Out
Peltier
PID
Controller
RS-232
RS-232
PC
RS-232
RTD
#3
RTD
#2
ADC
x 2
장비내부
온도
약액
온도
RTD
#1